| 1 | Water heater - Drain your tank and remove sediment. - Check your anode rod regularly, a sit's an important part of the water heater. - If you notice your water heater leaking, it may be caused by a loose drain valve. Tighten with a wrench until snug. - Test the temperature release valve. e. Insulate its pipes and the heater |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Aim &Tools required |  | 10 |  |
| 2 | Procedure / Sketch / Setting / Tool Handling |  | 20 |  |
| 3 | Adjustment / Dismantling / Assembling |  | 20 |  |
| 4 | Troubles / Report |  | 10 |  |
| 5 | Written test (Theory Portions) |  | 30 |  |
| 6 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 2 | Water pump - Dismantle and assemble a pump from the chilled water pipeline. - Dismantle and assemble of pump casing c. Alignment of pump-motor shaft |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Aim &Tools required |  | 10 |  |
| 2 | Procedure / Sketch / Setting / Tool Handling |  | 20 |  |
| 3 | Adjustment / Dismantling / Assembling |  | 20 |  |
| 4 | Troubles / Report |  | 10 |  |
| 5 | Written test (Theory Portions) |  | 30 |  |
| 6 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 3 | Cooling Tower - Check the fan motor assembly - Align the fan motor assembly - Check the float valve operation - Check the water nozzles and replace if blocked |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Aim &Tools required |  | 10 |  |
| 2 | Procedure / Sketch / Setting / Tool Handling |  | 20 |  |
| 3 | Adjustment / Dismantling / Assembling |  | 20 |  |
| 4 | Troubles / Report |  | 10 |  |
| 5 | Written test (Theory Portions) |  | 30 |  |
| 6 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 4 | Plumbing pump - Dismantling and assembly of pump casing - Check and replaces haft seal c. Check and replace impeller |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Aim &Tools required |  | 10 |  |
| 2 | Procedure / Sketch / Setting / Tool Handling |  | 20 |  |
| 3 | Adjustment / Dismantling / Assembling |  | 20 |  |
| 4 | Troubles / Report |  | 10 |  |
| 5 | Written test (Theory Portions) |  | 30 |  |
| 6 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 5 | Fire Fighting pumps - Check automatic start by opening a test line to reduce system pressure - Verify that relief valves operate properly - Check the fuel tank level for diesel pump - Check the oil and fuel filter in the diesel engine - Check the battery |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Aim &Tools required |  | 10 |  |
| 2 | Procedure / Sketch / Setting / Tool Handling |  | 20 |  |
| 3 | Adjustment / Dismantling / Assembling |  | 20 |  |
| 4 | Troubles / Report |  | 10 |  |
| 5 | Written test (Theory Portions) |  | 30 |  |
| 6 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 6 | Cleaning AC Unit. - Filter cleaning - Cooling coil cleaning - Blower cleaning - Condenser coil cleaning - Condenser fan cleaning |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Aim &Tools required |  | 10 |  |
| 2 | Procedure / Sketch / Setting / Tool Handling |  | 20 |  |
| 3 | Adjustment / Dismantling / Assembling |  | 20 |  |
| 4 | Troubles / Report |  | 10 |  |
| 5 | Written test (Theory Portions) |  | 30 |  |
| 6 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 7 | Checking AC unit - Checking refrigerant pressure - Check the drier . - Check the compressor. - Check the temperature control. e. Check the supply air flow rate and temperature |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Aim &Tools required |  | 10 |  |
| 2 | Procedure / Sketch / Setting / Tool Handling |  | 20 |  |
| 3 | Adjustment / Dismantling / Assembling |  | 20 |  |
| 4 | Troubles / Report |  | 10 |  |
| 5 | Written test (Theory Portions) |  | 30 |  |
| 6 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 8 | Transformer - Check the transformer oil level and top up if required - Clean the breather. - Check the bushing filled with oil to check oil level - Check the leakage of oil from any point - Check the oil pump f. Check air fan |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Aim &Tools required |  | 10 |  |
| 2 | Procedure / Sketch / Setting / Tool Handling |  | 20 |  |
| 3 | Adjustment / Dismantling / Assembling |  | 20 |  |
| 4 | Troubles / Report |  | 10 |  |
| 5 | Written test (Theory Portions) |  | 30 |  |
| 6 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 9 | Gen set (Engine Generator) - Test Batteries - Check intake and exhaust c. Inspect wiring/electrical system |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Aim &Tools required |  | 10 |  |
| 2 | Procedure / Sketch / Setting / Tool Handling |  | 20 |  |
| 3 | Adjustment / Dismantling / Assembling |  | 20 |  |
| 4 | Troubles / Report |  | 10 |  |
| 5 | Written test (Theory Portions) |  | 30 |  |
| 6 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 10 | Gen set (Engine Generator) - Check filters and replace if necessary - Check oil and replace as recommended - Check fuel filter and replace if blocked d. Check and replace sparkplugs |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Aim &Tools required |  | 10 |  |
| 2 | Procedure / Sketch / Setting / Tool Handling |  | 20 |  |
| 3 | Adjustment / Dismantling / Assembling |  | 20 |  |
| 4 | Troubles / Report |  | 10 |  |
| 5 | Written test (Theory Portions) |  | 30 |  |
| 6 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |