| 1 | A) Determination of refrigerating effect, C.O.P and the compressor capacity of an open type system with any one expansion device. (Thermostatic expansion valve / Capillary tube / Automatic Expansion Valve) B) Study the various sizes of copper and steel tubing. To study the various tools used for operations |
| --- | --- |

ALLOCATION OF MARKS

| Sl. No | Description | Part A | Part B |
| --- | --- | --- | --- |
| 1 | Aim, Procedure | 10 | 15 |
| 2 | Formula ,Observation, Tool handling | 20 | 15 |
| 3 | Calculation/ Result/Conclusion/ Report | 20 | 10 |
| 4 | Total | 50 | 40 |
| 5 | Viva Voce | 10 |  |
| Total |  | 100 |  |

| 2 | A) Determination of C.O.P of sealed system by using electrical measurements. B) Study and carry out the various operations on copper and steel tubing , Flaring, Swaging and Soldering methods used in R& A.C |
| --- | --- |

ALLOCATION OF MARKS

| Sl. No | Description | Part A | Part B |
| --- | --- | --- | --- |
| 1 | Aim, Procedure | 10 | 15 |
| 2 | Formula ,Observation, Tool handling | 20 | 15 |
| 3 | Calculation/ Result/Conclusion/ Report | 20 | 10 |
| 4 | Total | 50 | 40 |
| 5 | Viva Voce | 10 |  |
| Total |  | 100 |  |

| 3 | A) Determination of capacity of a window air conditioner. B) Study the methods to set and adjust the following: a) Thermostats, b) Low pressure and high pressure cut-outs c) Thermostatic expansion valve d) Automatic Expansion Valve. |
| --- | --- |

ALLOCATION OF MARKS

| Sl. No | Description | Part A | Part B |
| --- | --- | --- | --- |
| 1 | Aim, Procedure | 10 | 15 |
| 2 | Formula ,Observation, Tool handling | 20 | 15 |
| 3 | Calculation/ Result/Conclusion/ Report | 20 | 10 |
| 4 | Total | 50 | 40 |
| 5 | Viva Voce | 10 |  |
| Total |  | 100 |  |

| 4 | A) Determination of efficiency of a cooling tower. B) Conduct the service to change refrigerant into service cylinder from storage cylinder. |
| --- | --- |

ALLOCATION OF MARKS

| Sl. No | Description | Part A | Part B |
| --- | --- | --- | --- |
| 1 | Aim, Procedure | 10 | 15 |
| 2 | Formula ,Observation, Tool handling | 20 | 15 |
| 3 | Calculation/ Result/Conclusion/ Report | 20 | 10 |
| 4 | Total | 50 | 40 |
| 5 | Viva Voce | 10 |  |
| Total |  | 100 |  |

| 5 | A) Conduct Leak tests in a split air conditioning system, detect the failures and suggest the remedies. Conduct the Refrigerant Charge Test. B) Conduct the service to pump down the system and to purge air from the system. |
| --- | --- |

ALLOCATION OF MARKS

| Sl. No | Description | Part A | Part B |
| --- | --- | --- | --- |
| 1 | Aim, Procedure | 10 | 15 |
| 2 | Formula ,Observation, Tool handling | 20 | 15 |
| 3 | Calculation/ Result/Conclusion/ Report | 20 | 10 |
| 4 | Total | 50 | 40 |
| 5 | Viva Voce | 10 |  |
| Total |  | 100 |  |

| 6 | A) Conduct the flush test to remove the contaminants of refrigeration system and recharge. B) Conduct the service to check the oil level in the compressor and trace the common faults in R & AC units and their remedies. |
| --- | --- |

ALLOCATION OF MARKS

| Sl. No | Description | Part A | Part B |
| --- | --- | --- | --- |
| 1 | Aim, Procedure | 10 | 15 |
| 2 | Formula ,Observation, Tool handling | 20 | 15 |
| 3 | Calculation/ Result/Conclusion/ Report | 20 | 10 |
| 4 | Total | 50 | 40 |
| 5 | Viva Voce | 10 |  |
| Total |  | 100 |  |