| 1. | Draw the P&ID of a drum type boiler with only measurement points. |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | P & ID Drawing |  | 40 |  |
| 2 | Procedure |  | 30 |  |
| 3 | Drafting the Drawing in the System |  | 20 |  |
| 4 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 2. | Draw the P&ID of feedback control system in a chemical reactor for the control of temperature and pressure. |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | P & ID Drawing |  | 40 |  |
| 2 | Procedure |  | 30 |  |
| 3 | Drafting the Drawing in the System |  | 20 |  |
| 4 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 3. | Draw the P&ID of feedback control system in a tank for the control of level and inlet flow rate. |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | P & ID Drawing |  | 40 |  |
| 2 | Procedure |  | 30 |  |
| 3 | Drafting the Drawing in the System |  | 20 |  |
| 4 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 4. | Draw the P&ID of cascade control system in a steam heat exchanger and Distillation column. |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | P & ID Drawing |  | 40 |  |
| 2 | Procedure |  | 30 |  |
| 3 | Drafting the Drawing in the System |  | 20 |  |
| 4 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 5. | Draw the P&ID of feed forward control system in a stirred tank heater. |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | P & ID Drawing |  | 40 |  |
| 2 | Procedure |  | 30 |  |
| 3 | Drafting the Drawing in the System |  | 20 |  |
| 4 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 6. | Draw the P&ID of a ratio control system for the control of two flow rates by ratio. |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | P & ID Drawing |  | 40 |  |
| 2 | Procedure |  | 30 |  |
| 3 | Drafting the Drawing in the System |  | 20 |  |
| 4 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 7. | Draw the P&ID of split range control scheme in a process. |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | P & ID Drawing |  | 40 |  |
| 2 | Procedure |  | 30 |  |
| 3 | Drafting the Drawing in the System |  | 20 |  |
| 4 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 8. | Draw the P&ID of on/off, level, flow and pressure control of centrifugal pump. |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | P & ID Drawing |  | 40 |  |
| 2 | Procedure |  | 30 |  |
| 3 | Drafting the Drawing in the System |  | 20 |  |
| 4 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 9. | Draw the P&ID for measurement of furnace draft in boiler. |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | P & ID Drawing |  | 40 |  |
| 2 | Procedure |  | 30 |  |
| 3 | Drafting the Drawing in the System |  | 20 |  |
| 4 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 10. | Draw the P&ID of boiler feed water pumping and heating system. |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | P & ID Drawing |  | 40 |  |
| 2 | Procedure |  | 30 |  |
| 3 | Drafting the Drawing in the System |  | 20 |  |
| 4 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 11. | Draw the P&ID of flue gas dew point control. |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | P & ID Drawing |  | 40 |  |
| 2 | Procedure |  | 30 |  |
| 3 | Drafting the Drawing in the System |  | 20 |  |
| 4 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 12. | Draw the P&ID of lube oil cooler. |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | P & ID Drawing |  | 40 |  |
| 2 | Procedure |  | 30 |  |
| 3 | Drafting the Drawing in the System |  | 20 |  |
| 4 | Viva Voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |