| 1 | A) Draw any 3 R&A/C components symbols using CAD given within the bracket -(FCU,AHU,chiller,pump,fan,coolingcoil,compressor,silencer,muffler,airfilter, drier, condenser, thermostat, dx unit, cooling tower, gate valve, globe valve, solenoid valve, butterfly valve, check valve) B) Draw any 3 basic R&A/C components symbols using CAD given within the bracket. (HVAC duct work symbols : - straight duct, bend, branch duct, junction, y junction, 3-way junction, beveled junction, miter bend, transition, offset transition, diffuser supply & return, duct heater, flexible connection, flexible connector, damper, VAV box, linear diffuser supply & return, floor register, louver opening, air grill) C) Draw any 2 of the following connection drawing using CAD - Compressor connection drawing - Condenser connection drawing - Evaporator connection drawing D) Process drawing - Split ac |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Drawing of basic R&A/C components (Any3)(Part A) |  | 10 |  |
| 2 | Drawing of basic R&A/C components (Any3)(Part B) |  | 10 |  |
| 3 | Connection Drawing (Any two)(Part C) |  | 15 |  |
| 4 | Process Drawing (Part D) |  | 25 |  |
| 5 | Written test |  | 30 |  |
| 6 | Viva voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 2 | A) Draw any 3 R&A/C components symbols using CAD given within the bracket -(FCU,AHU,chiller,pump,fan,coolingcoil,compressor,silencer,muffler,airfilter, drier, condenser, thermostat, dx unit, cooling tower, gate valve, globe valve, solenoid valve, butterfly valve, check valve) B) Draw any 3 basic R&A/C components symbols using CAD given within the bracket . (HVAC duct work symbols : - straight duct, bend, branch duct, junction, y junction, 3-way junction, beveled junction, miter bend, transition, offset transition, diffuser supply & return, duct heater, flexible connection, flexible connector, damper, VAV box, linear diffuser supply & return, floor register, louver opening, air grill) C) Draw any 2 of the following connection drawing using CAD - Compressor connection drawing - Condenser connection drawing - Evaporator connection drawing D) Process drawing - Typical duct drawing for a hall |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Drawing of basic R&A/C components (Any3)(Part A) |  | 10 |  |
| 2 | Drawing of basic R&A/C components (Any3)(Part B) |  | 10 |  |
| 3 | Connection Drawing (Any two)(Part C) |  | 15 |  |
| 4 | Process Drawing (Part D) |  | 25 |  |
| 5 | Written test |  | 30 |  |
| 6 | Viva voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 3 | A) Draw any 3 R&A/C components symbols using CAD given within the bracket -(FCU,AHU,chiller,pump,fan,coolingcoil,compressor,silencer,muffler,airfilter, drier, condenser, thermostat, dx unit, cooling tower, gate valve, globe valve, solenoid valve, butterfly valve, check valve) B) Draw any 3 basic R&A/C components symbols using CAD given within the bracket . (HVAC duct work symbols : - straight duct, bend, branch duct, junction, y junction, 3-way junction, beveled junction, miter bend, transition, offset transition, diffuser supply & return, duct heater, flexible connection, flexible connector, damper, VAV box, linear diffuser supply & return, floor register, louver opening, air grill) C) Draw any 2 of the following connection drawing using CAD - Compressor connection drawing - Condenser connection drawing - Evaporator connection drawing D) Process drawing - Chillers |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Drawing of basic R&A/C components (Any3)(Part A) |  | 10 |  |
| 2 | Drawing of basic R&A/C components (Any3)(Part B) |  | 10 |  |
| 3 | Connection Drawing (Any two)(Part C) |  | 15 |  |
| 4 | Process Drawing (Part D) |  | 25 |  |
| 5 | Written test |  | 30 |  |
| 6 | Viva voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 4 | A) Draw any 3 R&A/C components symbols using CAD given within the bracket -(FCU,AHU,chiller,pump,fan,coolingcoil,compressor,silencer,muffler,airfilter, drier, condenser, thermostat, dx unit, cooling tower, gate valve, globe valve, solenoid valve, butterfly valve, check valve) B) Draw any 3 basic R&A/C components symbols using CAD given within the bracket . (HVAC duct work symbols : - straight duct, bend, branch duct, junction, y junction, 3-way junction, beveled junction, miter bend, transition, offset transition, diffuser supply & return, duct heater, flexible connection, flexible connector, damper, VAV box, linear diffuser supply & return, floor register, louver opening, air grill) C) Draw any 2 of the following connection drawing using CAD - Compressor connection drawing - Condenser connection drawing - Evaporator connection drawing D) Process drawing - Cooling tower |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Drawing of basic R&A/C components (Any3)(Part A) |  | 10 |  |
| 2 | Drawing of basic R&A/C components (Any3)(Part B) |  | 10 |  |
| 3 | Connection Drawing (Any two)(Part C) |  | 15 |  |
| 4 | Process Drawing (Part D) |  | 25 |  |
| 5 | Written test |  | 30 |  |
| 6 | Viva voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |

| 5 | A) Draw any 3 R&A/C components symbols using CAD given within the bracket -(FCU,AHU,chiller,pump,fan,coolingcoil,compressor,silencer,muffler,airfilter, drier, condenser, thermostat, dx unit, cooling tower, gate valve, globe valve, solenoid valve, butterfly valve, check valve) B) Draw any 3 basic R&A/C components symbols using CAD given within the bracket . (HVAC duct work symbols : - straight duct, bend, branch duct, junction, y junction, 3-way junction, beveled junction, miter bend, transition, offset transition, diffuser supply & return, duct heater, flexible connection, flexible connector, damper, VAV box, linear diffuser supply & return, floor register, louver opening, air grill) C) Draw any 2 of the following connection drawing using CAD - Compressor connection drawing - Condenser connection drawing - Evaporator connection drawing D) Process drawing - Typical central ac plant |
| --- | --- |

ALLOCATION OF MARKS

| SNo | Descriptions |  | Max. Marks | Marks Awarded |
| --- | --- | --- | --- | --- |
| 1 | Drawing of basic R&A/C components (Any3)(Part A) |  | 10 |  |
| 2 | Drawing of basic R&A/C components (Any3)(Part B) |  | 10 |  |
| 3 | Connection Drawing (Any two)(Part C) |  | 15 |  |
| 4 | Process Drawing (Part D) |  | 25 |  |
| 5 | Written test |  | 30 |  |
| 6 | Viva voce |  | 10 |  |
| TOTAL |  |  | 100 |  |
| Internal Examiner |  | External Examiner |  |  |